|  | K12 Security & Vulnerability Assessment |
| --- | --- |
|  | Area Y/N Description/Comments School Profile |
|  | School Name: |  |  |
|  | Location: |  |  |
|  | Website address: |  |  |
|  | Principal’s Name: |  |  |
| 1 | # of Students: |  |  |
| 2 | # of Teachers: |  |  |
| 3 | Student to Teacher ratio: |  |  |
| 4 | Average # of visitors daily: |  |  |
| 5 | Number of Buildings: |  |  |
| 6 | Approx. Square footage: |  |  |
| 7 | Year of Construction: |  |  |
| 8 | Campus style(Multi-story building/multi-building, Open, etc) |  |  |
| 9 | School Environment (Urban, Suburban, rural |  |  |
|  | Student Transportation |  |  |
| 10 | % traveling by bus: |  |  |
| 11 | % traveling by personal vehicle: |  |  |
| 12 | % driven by parents: |  |  |
| 13 | % traveling by foot or bike: |  |  |
|  | Law Enforcement Relations |  |
| 14 | School Resource Officer: |  |
| 15 | How many days/hours is SRO on campus? |  |
|  | Social Factors Pertinent to the Student Population |  |
| 16 | Ethnic and cultural backgrounds: |  |
| 17 | Languages spoken by students: |  |
| 18 | Economic Conditions: |  |
| 19 | Single Parent households: |  |
| 20 | Unique characteristics of student body: |  |
|  | Documentation Collection |  |  |
| 21 | Please Provide us with a copy of the following |  |  |
|  | Campus Map |  |  |
|  | Current Emergency/Crisis Response Plan |  |  |
|  | Safety Concerns |  |
| 22 | What would you consider to be the number 1 risk to student safety?: |  |
| 23 | What would you consider to be the number 1 risk to staff safety:? |  |
|  | Policies and procedures ID Cards |  |  |
| 24 | Are staff and teachers issued ID badges? Is display enforced? |  |  |
| 25 | Are employees wearing their badges if made available? |  |  |
| 26 | Are students issued ID cards? |  |  |
| 27 | Who controls the issuance of ID badges? |  |  |
| 28 | Are IDs also used for doorway access control? |  |  |
| 29 | Do procedures exist for activation/deactivation of access? |  |  |
| 30 | Is there a system in place to provide temporary ID cards to visitors/outside contractors/vendors/janitorial personnel? |  |  |
|  | Visitor/Volunteer/Contractor Protocol |  |
|  | Area Y/N | Description/Comments |
| 31 | Is there a visitor log book or computerized visitor log-in system in the main office? |  |  |
| 32 | Describe the visitor sign-in policy and procedures. |  |  |
| 33 | Are visitors and vendors escorted while on campus? |  |  |
| 34 | Are volunteers, contractors, temporary personnel, and substitute teachers required to sign in and receive a badge prior to gaining entry to the school? |  |  |
| 35 | Do outside contractors/vendors/janitorial personnel check-in before providing services? |  |  |
| 36 | Do outside contractors/vendors/janitorial personnel have a routine entry point and route of service? |  |  |
| 37 | Are criminal background checks conducted on all employees, outside contractors, outside vendors, and janitorial personnel? |  |  |
|  | Key Control |  |  |
| 38 | Describe key control procedures. |  |  |
| 39 | Where are keys stored? |  |  |
| 40 | Is the key cabinet properly secured with a lock, or located in the safe of another secure area? |  |  |
| 41 | Is a key log maintained? |  |  |
| 42 | Do teachers return their keys at the end of the school year? |  |  |
| 43 | Who has access to the master keys to the school? |  |  |
| 44 | Are contractors or other vendors issued keys? |  |  |
| 45 | Do local police & fire departments have access to the master key(e.g. via a key box located on the exterior of the facility)? |  |  |
|  | Temp Personnel/Subs Protocol |  |  |
| 46 | Are substitute teachers provided a copy of the school’s emergency procedures? |  |  |
| 47 | Are substitute teachers issued classroom keys? |  |  |
|  | Money Handling |  |  |
| 48 | Is there a safe for money? |  |  |
| 49 | Where is the safe located, and who has access to it? Who is responsible for money handling on campus? |  |  |
| 50 | Who is responsible for taking money to the bank or school district headquarters? |  |  |
|  | Mail Handling |  |  |
| 51 | Is there a designated mail handling facility? |  |  |
| 52 | Have any staff members received training in proper mail handling and suspicious package procedures? |  |  |
|  | Special Needs Students and Staff |  |  |

| Area Y/N Description/Comments |
| --- |
| 53 | Does the school have a list of special needs occupants listing their special need and location within the schools? |  |  |
| 54 | Are special provisions made to ensure the safety and welfare of the special needs occupants? |  |  |
| 55 | Does the school have predetermined evacuation/sheltering staging areas for special needs occupants? |  |  |
| 56 | Does the school implement the “buddy system” to ensure that each special needs occupant has a person who is responsible for their safety and welfare? |  |  |
|  | Off Premise Procedures |  |  |
| 57 | Have those responsible for driving students off school grounds been trained in emergency procedures? |  |  |
| 58 | What is the ration of supervisors/chaperones to students? |  |  |
| 59 | Are the supervisors equipped with radios or cell phones? If so, does the main office have a list of staff cell phones #? |  |  |
| 60 | Do all students/parent fill out an informational form before attending an off-campus activity? |  |  |
| 61 | Has staff received training on hazard avoidance and emergency management procedures while off school grounds? |  |  |
| 62 | Are staff members required to check-in on a periodic basis while on a trip? |  |  |
| 63 | Do staff members carry the necessary forms (permission slip, emergency contact information, special medical needs) while on a trip? |  |  |
|  | After-Hours Emergency Procedures |  |  |
| 64 | What type of after hours activities are conducted at this school? |  |  |
| 65 | Is your school used regularly after-hours? |  |  |
| 66 | Is the school used during the weekend for church services or other activities? |  |  |
| 67 | Who is in charge of the school during after-hours activities? Has this person been trained in the Incident Command System and knows the school’s emergency procedures? |  |  |
| 68 | Is the after-hours IC authorized and trained on how to evacuate the school or shelter in place? |  |  |
| 69 | Are teachers allowed to work at the school in the evening hours without permission? |  |  |
| 70 | How many custodians work in the evening and what time does their shift end? Do they have radios in case of trouble? |  |  |
|  | Emergency Procedures |  |  |
| 71 | Are the school’s safety and security plans updated annually? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 72 | Does the school or school district have an anonymous hotline number to report incidents to school administrators? |  |  |
| 73 | Are there emergency phone number stickers on all school telephones? |  |  |
| 74 | Does the school have an automated voice mail system that includes the statement, “Your telephone call may be monitored to ensure safety? |  |  |
| 75 | Has the school designated a PRIMARY location for its emergency operations center? |  |  |
| 76 | Has the school designated a SECONDARY location for its emergency operations center? |  |  |
| 77 | Has a kit been established for the emergency operations center, including (but not limited to) emergency contact lists, medical considerations list, flashlights, first aid supplies, and radios? |  |  |
| 78 | Does the school have a School Safety Committee? How often do they meet? |  |  |
| 79 | Do all staff members receive a copy of the school’s emergency procedures manual? |  |  |
|  | Emergency Response Plan/Safe School Plan |  |  |
| 80 | Does the school’s emergency response plan have an “all hazards” approach? |  |  |
| 81 | Has a Emergency Response Team (ERT), or equivalent, been developed? |  |  |
| 82 | Has the school involved local public safety agencies in developing the school’s “all hazards” emergency response plan? |  |  |
| 83 | Do local public safety agencies have a copy of the school’s Emergency Response Plan and blueprints/drawings for the school? |  |  |
| 84 | Has Police and Fire done a walkthrough of the school to familiarize themselves with its layout? |  |  |
|  | Training & Exercising |  |  |
| 85 | Do teachers and staff receive emergency management training, regardless of whether they are on the ERT? |  |  |
| 86 | Has the school ever conducted tabletop exercises or other exercise to test its emergency preparedness? |  |  |
| 87 | Have staff members been trained in how to take a bomb threat phone call? |  |  |
| 88 | Has staff received fire extinguisher training? |  |  |
| 89 | Describe the school’s drill protocol. Is it in line with district/local standards? |  |  |
| 90 | Is a drill log maintained and post-drill critique conducted after each drill? |  |  |
| 91 | After an incident, does ERT conduct a post-incident critique? Are lesson learned, shared with District Administration? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 92 | Has staff been trained in how to recognize signs of drug use, physical abuse, and gang activity among students? |  |  |
|  | Evacuation Procedures |  |  |
| 93 | How many evacuation drills are preformed? |  |  |
| 94 | Has the fire department participated in any drills at the school? |  |  |
| 95 | Are evacuation drills conducted between classes, at lunch, or arrival/dismissal? |  |  |
| 96 | Have the school’s assembly points been established, both on and off campus? Have transportation needs been addressed if all occupants need to be relocated to the off campus assembly point? |  |  |
| 97 | How far from the school facilities is the PRIMARY assembly point(s)? |  |  |
| 98 | How far from the school facilities is the SECONDARY assembly point(s)? |  |  |
| 99 | Are evacuation assembly points near the street? |  |  |
| 100 | Does the school have an adequate system to track students evacuating out of the school? |  |  |
| 101 | Do you have any mutual aid agreements with other schools or community organizations? |  |  |
|  | Shelter-in-Place Procedures |  |  |
| 102 | How many sheltering drills are conducted each year? |  |  |
| 103 | Are sheltering drills conducted between classes, at lunch, or arrival/dismissal? |  |  |
| 104 | Have sheltering areas been pre-determined and are they clearly marked? |  |  |
|  | Lockdown Procedures |  |  |
| 105 | Does the school have a lockdown plan? |  |  |
| 106 | How many lockdown drills are conducted each year? |  |  |
| 107 | Are lockdown drills performed in between classes, at lunch or arrival/dismissal? |  |  |
| 108 | Have the local police department reviewed the school’s lockdown procedures for familiarity? |  |  |
|  | EXTERIOR Neighborhood/Perimeter |  |  |
| 109 | Describe characteristics of neighborhood |  |  |
| 110 | Are there issues with gang activity, drug activity, or unauthorized use of school grounds? |  |  |
| 111 | Are there issues with unsafe conditions regarding traffic in the area? |  |  |
| 112 | Describe adjacent land use |  |  |
|  | Fencing |  |  |
| 113 | Are gates secured? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 114 | Is fencing sufficient? |  |  |
| 115 | Is the height of the fence sufficient(e.g. around utilities or the chiller area)? |  |  |
| 116 | Were utility panels, gas mains, A/C units, and others properly fenced and gated? |  |  |
| 117 | Is the height of the fence around these areas sufficient? Were gates locked? |  |  |
| 118 | Describe the condition of the fencing – is it broken, falling down, or in need of replacement? |  |  |
|  | Vegetation/Grounds keeping |  |  |
| 119 | Are shrubs and trees maintained properly to avoid creating hiding spaces or enabling access to the roof? |  |  |
| 120 | Describe the condition of the school grounds. |  |  |
| 121 | Were any holes or other trip hazards observed? |  |  |
| 122 | Were rain gutters in good condition? |  |  |
| 123 | Is there a drainage problem? |  |  |
|  | Building Ventilation Intake(s) |  |  |
| 124 | Are outside air intakes located at least 15 ft. above the ground? |  |  |
| 125 | Are gas leaks, biological, and chemical detection systems in place? |  |  |
|  | Underground Access |  |  |
| 126 | Is there underground access to facility? |  |  |
|  | Visibility/Possible Concealment |  |  |
| 127 | Were any blind spots and hiding areas observed? |  |  |
|  | Alleyways & Service Drives |  |  |
| 128 | Were alleyways and service drives properly secured? |  |  |
| 129 | Were unauthorized vehicles parked in the area? |  |  |
| 130 | Are protective barriers (e.g. bollards)needed to keep vehicles from hitting the building, curbs, dumpsters, or other along the service drives? |  |  |
| 131 | Were all fenced-in areas secured in the alleyways & service drives? |  |  |
|  | Garbage Dumpster Area |  |  |
| 132 | Is the garbage dumpster area secure? |  |  |
| 133 | Are garbage dumpsters situated near the school building? |  |  |
| 134 | Are vehicles parked near/in front of the dumpster(s)? |  |  |
|  | Exterior CCTV |  |  |
| 135 | Does the school have an exterior CCTV system? Describe (#of cameras, digital vs. VHS, remote monitoring – Y/N, color/black-and–white, location of monitor(s), location of cameras) |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 136 | Are there any areas that need cameras that do not currently have them? |  |  |
| 137 | Is there remote monitoring of the system from administrators’ offices? Where is the main monitor located? Is it in an area that is consistently attended? |  |  |
| 138 | Is the system WHS or digital? How often is backup? |  |  |
| 139 | How long are tapes stored? |  |  |
| 140 | Are there any cameras that do not work? |  |  |
| 141 | Does the monitoring capability need improvement? Can all cameras be viewed at once? |  |  |
|  | Exterior Lighting |  |  |
| 142 | Is night lighting sufficient? |  |  |
| 143 | Were any broken lights observed? |  |  |
|  | Exterior Signage |  |  |
| 144 | Is there adequate signage around the facility regarding: |  | Are signs in good condition? Are there any outdated signs that are no longer applicable? |
| 145 | -parking areas (visitor vs. staff) |  |  |
| 146 | -speed limits |  |  |
| 147 | -proper drop-off/pick-up areas |  |  |
| 148 | -visitor policy |  |  |
| 149 | -location of the main office |  |  |
| 150 | -prohibiting the unauthorized use of school grounds (e.g. skateboarding, etc) |  |  |
|  | Parking |  |  |
| 151 | Are the parking lots clean and clear of litter and debris? |  |  |
| 152 | Are the parking lots secured? Can they be, if needed? |  |  |
| 153 | Are all parking areas covered by security cameras? |  |  |
| 154 | Is parking allowed adjacent to the school building? How close to the facility can vehicles park? |  |  |
| 155 | Is there designated visitor parking area that is separate from staff parking? |  |  |
| 156 | Are designated parking spaces marked with personal names or titles (e.g. for the principal, SRO, secretary, etc)? |  |  |
| 157 | Are there sufficient designated handicapped parking spaces? |  |  |
| 158 | Are designated handicapped parking spaces located near the sidewalk and ramp so that handicapped individuals do not need to navigate through traffic to access the ramp and sidewalk? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 159 | Are parked vehicles blocking emergency egress routes or fire lanes? Are these areas adequately marked or signed? |  |  |
| 160 | Is there enough parking? |  |  |
| 161 | Is SRO parking space located in an area that is easily visible (e.g. in front parking areas near the main entrance)? |  |  |
| 162 | Are the parking lots in good condition? Were any trip hazards from eroding asphalt observed? |  |  |
| 163 | Are painted markings in parking lots (e.g. space markings, traffic flow patters, fire lanes, etc) worn or out-dated? |  |  |
|  | Student Drop-off/Pick-up |  |  |
| 164 | Is the student drop-off/pick-up area adequately signed? |  |  |
| 165 | Are additional signs needed to deter speeding and to enforce proper traffic flow during drop-off and pick-up? |  |  |
| 166 | Is there a problem with speeding during drop-off and pick-up, or in the parking lots in general? |  |  |
| 167 | Does the drop-off/pick-up area allow for smooth traffic flow? |  |  |
| 168 | Are there low curbs in the drop-off/pick-up zones? |  |  |
| 169 | Is there adequate staff monitoring of drop-off and pick up? |  |  |
|  | Bike Racks |  |  |
| 170 | Are bike racks fenced, gated, and secured to the school or pavement? |  |  |
| 171 | Is there a sign indicating that the school is not responsible for bikes left after school hours? |  |  |
|  | Sidewalks |  |  |
| 172 | Are sidewalks low enough that there is a potential for vehicles to accidentally drive up onto them? |  |  |
| 173 | Were any trip hazards on the sidewalks observed? |  |  |
| 174 | Are there adequate sidewalks around the campus? |  |  |
| 175 | Are there adequate sidewalks in the school zone? |  |  |
|  | Exterior Access Control |  |  |
| 176 | Are all exterior doors locked 24/7? |  |  |
| 177 | Is there an access control system installed? |  |  |
| 178 | Are there any exterior access points via gates, trees, etc.? |  |  |
|  | Exterior Roof Access |  |  |
| 179 | Are there any roof hatches? |  |  |
| 180 | If so, are they properly secured? |  |  |
| 181 | Are there any doors on the roof? |  |  |
| 182 | Is so, are they properly secured? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 183 | Are there any skylights? |  |  |
| 184 | If so, are they properly secured? |  |  |
| 185 | Is there roof access from adjacent buildings, covered walkways, or low roofs? |  |  |
| 186 | Is there roof access from tree branches? |  |  |
|  | Exterior Doors and Hardware |  |  |
| 187 | Do doors shut and lock properly? |  |  |
| 188 | Are panic bars installed on all exit doors? |  |  |
| 189 | Are all panic bars working properly? |  |  |
| 190 | Do exterior doors have protective film on them? |  |  |
| 191 | Are all exterior doors marked? |  |  |
| 192 | Describe the exterior doors (metal, glass, paneled, solid, etc.) |  |  |
|  | Exterior Windows |  |  |
| 193 | Are first-floor windows adequately secured with grates, cages, or heavy-duty locks? |  |  |
| 194 | Are all air conditioning units secured? |  |  |
| 196 | Are there any broken, damaged, or leaky windows? |  |  |
| 197 | Are there any problems with hurricane shutters? |  |  |
| 198 | Do window need hurricane shutters? |  |  |
|  | Athletic Facilities |  |  |
| 199 | What athletic facilities are on campus? |  |  |
| 200 | Are all athletic facilities fenced? |  |  |
| 201 | Is there any broken or damaged fencing? |  |  |
| 202 | Are outdoor athletic facilities accessible to the public after hours? |  |  |
| 203 | Do athletic facilities have adequate lighting? |  |  |
| 204 | Are all fire exits in athletic facilities clearly accessible? |  |  |
| 205 | Are there AEDs near the athletic facilities? |  |  |
| 206 | Which staff members have AED training? |  |  |
|  | Playground |  |  |
| 207 | Is the playground in good condition? |  |  |
| 208 | Is the playground fenced? |  |  |
| 209 | Is playground equipment in good condition? |  |  |
| 210 | Do the steel I-beams in the covered play area have protective padding? |  |  |
| 211 | Were any trip hazards observed in the playground area? |  |  |
| 212 | Is there a fall protection substance underneath playground equipment? Is it sufficient? |  |  |
|  | Exterior Garbage Cans |  |  |
| 213 | Are there freestanding exterior garbage cans located near the entrance of the building? |  |  |
| 214 | Are they secured to the pavement? |  |  |
|  | Interior Main Office |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 215 | Does the main office have a safety barrier or door between the main area and the area where visitors enter? |  |  |
| 216 | Is there a sally trap at the main entrance? |  |  |
| 217 | Is there an operational weather radio in the main office? |  |  |
| 218 | Were Bomb Threat Checklists observed near telephones? |  |  |
| 219 | Are first-aid supplies and biohazard materials properly stored in the main office (if there is no clinic)? |  |  |
| 220 | Is the school equipped with panic buttons at the front desk or other areas? |  |  |
|  | Nurse’s Office/Clinic |  |  |
| 221 | Are all medications and syringes secured at all times? |  |  |
| 222 | Are all biohazardous materials properly stored and disposed of in accordance with district/local standards? |  |  |
|  | Public Address System |  |  |
| 223 | Does the school have a PA system? |  |  |
| 224 | Does it work properly? |  |  |
| 225 | Doe the PA system have outdoor speakers? |  |  |
|  | Communications Devices |  |  |
| 226 | Do all classrooms have two-way communication to the main office? List the ones that don’t. What are the means of communication between classrooms and main office (PA, Phone, email, radio, panic button, etc)? |  |  |
| 227 | Is there a battery back-up system for the telephones? |  |  |
| 228 | Is there a secondary means of communication at the school (e.g. bullhorns, radios)? (Does the PA system work via the telephone? What happens if the phone lines are out?) |  |  |
|  | Alarm/Security System |  |  |
| 229 | Is the school equipped with an alarm system? Are there motion detectors in the hallways, door detectors, window detectors, etc? |  |  |
| 230 | Does the alarm system have audible alarm sirens and flashing lights? |  |  |
| 231 | Where is the alarm panel located? |  |  |
| 232 | Who has access to alarm system codes? Do these individuals know what the zones are for the system? |  |  |
| 233 | Are personalized access codes issued to individuals who are authorized to have access codes? |  |  |
| 234 | Does the school have an external security monitoring system and if so who monitors the systems? |  |  |
| 235 | Are there private security personnel assigned to the school? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 236 | Have background checks been performed? |  |  |
|  | Interior CCTV |  |  |
| 237 | Is there an interior CCTV system? |  |  |
|  | Fire/Life Safety |  |  |
| 238 | Is the school equipped with sprinklers? |  |  |
| 239 | Is the school equipped with smoke detectors? |  |  |
| 240 | Are smoke detectors installed in restrooms and locker rooms? |  |  |
| 241 | Is the school equipped with fire extinguishers? |  |  |
| 242 | Are the extinguishers ABC-type? |  |  |
| 243 | Are there any water-type extinguishers? |  |  |
| 244 | Did all fire extinguisher boxes contain fire extinguishers? |  |  |
| 245 | Are fire extinguishers inspected monthly? |  |  |
| 246 | Is the school equipped with hoses? |  |  |
| 247 | Are fire detection and suppression systems maintained to fire safety code? |  |  |
| 248 | Do facility fire detection and suppression systems transmit an alarm to a communication center? |  |  |
| 249 | Is the fire department capable of reaching the facility adequate/above average? |  |  |
|  | Interior Lighting |  |  |
| 250 | Is the overall lighting in the interior of the facility adequate/above average? |  |  |
|  | Emergency Power and Lighting |  |  |
| 251 | Is the school equipped with emergency back-up power in case of power failure? |  |  |
| 252 | Are emergency lights checked monthly? |  |  |
| 253 | Are there any defective emergency lights? |  |  |
| 254 | Is the school a designated hurricane shelter? |  |  |
| 255 | Does the school have a generator? |  |  |
| 256 | Is the generator checked periodically? |  |  |
|  | Ceilings/Floors/Walls |  |  |
| 257 | Were any missing or damaged ceiling tiles observed? |  |  |
| 258 | Were classroom/hallway walls, floors and ceilings clear of excessive paper, storage items, and other obstructions? |  |  |
| 259 | Were any holes in fire walls observed? |  |  |
|  | Interior Doors and Hardware |  |  |
| 260 | Are interior doors secured at all times? |  |  |
| 261 | Does interior doors shut and lock properly? |  |  |

|  | Areas | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 262 | Are the locks on classroom doors adequate in a lockdown situation and do not create a life safety hazard? (Can interior doors lock from the inside)? |  |  |
| 263 | Are interior door knobs ADA-compliant? |  |  |
| 264 | Are there access control systems on doors leading to sensitive areas or offices? |  |  |
|  | Interior Windows |  |  |
| 265 | Are there any broken, damage, or inoperable windows? |  |  |
| 266 | Is there a window or glass panel in doors/walls of administrative offices for visibility? |  |  |
|  | Interior Signage |  |  |
| 267 | Is there universal evacuation and sheltering signage throughout the school? Does the signage highlight 2 means of egress? |  |  |
| 268 | Are all exit signs illuminated? |  |  |
| 269 | Do emergency exit signs point occupants in the correct direction(s) to exit the facility? |  |  |
|  | Hallways |  |  |
| 270 | Are hallways clear of obstruction? Are items being stored in hallways? |  |  |
| 271 | Are hallways adequately illuminated? |  |  |
| 272 | Are there blind corners in hallways that need mirrors? |  |  |
| 273 | Is there motion detector lighting installed in hallways? |  |  |
| 274 | Are there signs above hallway fire extinguishers? |  |  |
| 275 | Do all lockers have locks on them? |  |  |
|  | Classrooms |  |  |
| 276 | Are classroom doors secured at all times, even when in use? |  |  |
| 277 | Are classrooms exit doors and emergency egress windows free of obstruction and properly marked? |  |  |
| 278 | Do emergency escape windows have visible, unobstructed signage? |  |  |
| 279 | Are all bookshelves and cabinets secured to the walls or floor? |  |  |
| 280 | Are all televisions fastened to stands with safety straps or other device? |  |  |
| 281 | Is the outlet near the sink a GFCI outlet? |  |  |
| 282 | Were any sharp objects observed lying around within reach of students? |  |  |
| 283 | Were chemicals and cleaners found in cabinets under classroom sinks or other areas where children can reach them? |  |  |
| 284 | Are there first aid kits or additional fire extinguishers in classrooms with tools or other equipment? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 285 | Are items being stored on top of heating units? |  |  |
| 286 | Are classrooms equipped with panic buttons? |  |  |
|  | Portable Classrooms |  |  |
| 287 | Are portable walkways, handrails, and steps in good condition? Look for protruding nails, loose boards, rooting wood, etc. |  |  |
| 288 | Are portables inspected for mold periodically? |  |  |
| 289 | Are locks and doorknobs on portable exit doors ADA-compliant or have panic bars? |  |  |
| 290 | Are portable doors and floors in good condition? |  |  |
|  | Library/Media Center |  |  |
| 291 | Does the library have a security system in place to reduce the loss of books/items? |  |  |
| 292 | Are mirrors needed in the media center to improve observation of hidden areas? |  |  |
| 293 | Is the area where copiers and television routers are located properly ventilated? |  |  |
| 294 | Are exit doors properly marked? |  |  |
|  | Art Room |  |  |
| 295 | Is the ventilation system for the kiln adequate? Has it been approved by the fire marshal? Are there any complaints by the teacher regarding fumes or heat? |  |  |
| 296 | Are there combustible materials stored within 3 ft. of the kiln? |  |  |
| 297 | Is linseed oil stored in a flammable liquids cabinet? |  |  |
| 298 | Are oil-soaked rags properly disposed of? |  |  |
|  | Science Room |  |  |
| 299 | Are science chemicals properly stored in a secure area? |  |  |
| 300 | Are safety equipment (goggles, eye wash, shower, etc) easily accessible in the science room? |  |  |
| 301 | Are eye wash and shower stations inspected weekly? |  |  |
| 302 | Were there old, unused, leaking, spilled, or unmarked chemicals observed in the science room? Does the school inventory and purge chemicals regularly? |  |  |
| 303 | Do science rooms have a secondary means of egress? |  |  |
| 304 | Are chemical or biohazards being stored in same refrigerators/freezers as food items? |  |  |
|  | Shop/Technology Room |  |  |
| 305 | Are all tools secured when not in use? |  |  |
| 306 | Are there emergency shut-off buttons in shop/technology classroom? Are they clearly accessible? |  |  |
|  | Restrooms |  |  |
| 307 | Do restrooms have evacuation signage? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 308 | Are the locks on bathroom stall doors working properly? |  |  |
| 309 | Are stall doors in good condition and working properly? |  |  |
| 310 | Are there plumbing problems? |  |  |
|  | Stairways |  |  |
| 311 | Do stairwells have non-slip surfaces to reduce chances of a slip-and-fall? |  |  |
|  | Computer rooms |  |  |
| 312 | Are computer rooms secured at all times? |  |  |
|  | Data/Server Room |  |  |
| 313 | Is there an appropriate ventilation system in the server room(s)? |  |  |
| 314 | Is the server room(s) being used for storage? |  |  |
|  | Kitchen/Cafeteria |  |  |
| 315 | Is there a doorbell at the delivery door of the kitchen? |  |  |
| 316 | Is there a peephole in the delivery door? |  |  |
| 317 | Is the delivery door closed and locked at all times? |  |  |
| 318 | Are all knives, box cutters, etc. stored securely when not in use? (e.g. locked in the pantry, locked in a separate drawer, etc.) |  |  |
| 319 | Is the walk-in cooler equipped with a safety handle on the inside? |  |  |
| 320 | Are there GFCI electrical outlets installed near sinks and water? |  |  |
| 321 | Is there a sign above the activation button for the fire suppression system? |  |  |
| 322 | Is the activation button for the fire suppression system within 8 feet of the exhaust hood and frying area? |  |  |
| 323 | Are cafeteria staff aware of students and staff with food allergies? |  |  |
| 324 | Are cafeteria staff trained on basic procedures regarding handling choking situations, first aid, and how to recognize allergic reactions to food? |  |  |
| 325 | Are there signs in cafeteria on how to handle choking and first aid situations? |  |  |
| 326 | Are cafeteria staff trained in basic emergency management procedures (fire suppression, evacuation, shelter and lockdown)? |  |  |
| 327 | Is there an appropriate eye wash station near the chemical storage area and/or dishwashing area? |  |  |
| 328 | Are all chemicals properly stored away from food items? |  |  |
| 329 | Are MSDS forms properly maintained and accessible? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 330 | Are kitchen fans working properly and not too loud to risk staff members being unable to hear the fire alarm or PA system? |  |  |
|  | Auditorium |  |  |
| 331 | Is the auditorium secured when not in use? |  |  |
| 332 | Are exits clearly marked? |  |  |
| 333 | Is there reflective striping or low-level lighting at the edge of the stage and stairs? |  |  |
|  | Gym |  |  |
| 334 | Is the school equipped with an automatic bleacher system? Is there a safety system installed? |  |  |
| 335 | Are gym attendants properly trained on the use of the motorized bleacher system? |  |  |
| 336 | Is the gym secured when not in use? |  |  |
| 337 | Do bleachers have handrails at both ends? |  |  |
| 338 | Is there a First Aid Kit and AED device in gym area? |  |  |
| 339 | Are illuminated exit signs installed in the gym? |  |  |
| 340 | Are there grills to protect the lights and illuminated exit signs from flying objects? |  |  |
|  | Locker Rooms |  |  |
| 341 | Are personal items left in unlocked lockers? |  |  |
| 342 | Are mirrors needed in the locker rooms to improve visibility? |  |  |
| 343 | Do exit doors have panic bars on them? |  |  |
| 344 | Does the locker room have illuminated exit lights? |  |  |
|  | Weight Room |  |  |
| 345 | Is weight room equipment properly maintained and are weights properly stored? |  |  |
|  | Mechanical & Custodial Rooms |  |  |
|  | Are the following equipment checked by the custodians on a regular basis? |  |  |
| 346 | -fire/life safety systems |  |  |
| 347 | -HVAC |  |  |
| 348 | -fire suppression |  |  |
| 349 | -fire extinguishers |  |  |
| 350 | -smoke/heat detectors |  |  |
| 351 | -generators |  |  |
| 352 | -security alarm |  |  |
| 353 | Were mechanical, custodial, and electrical rooms found to be locked? |  |  |
| 354 | Were all chemicals properly stored, labeled, and in their original containers? |  |  |
| 355 | Are there any protruding metal beams that are not padded? |  |  |
| 356 | Do custodial crews have portable weather alert scanners or other means to receive weather warnings? |  |  |

|  | Area | Y/N | Description/Comments |
| --- | --- | --- | --- |
| 357 | Do night custodians have an additional means of communication (e.g. radios) to communicate with each other in case of danger? |  |  |
| 358 | Are gasoline and other flammables stored properly in a locked metal Flammables Storage cabinet? |  |  |
| 359 | Is the gasoline/flammable storage area organized and free of clutter? |  |  |
| 360 | Are there any bottle eye wash stations? |  |  |
| 361 | Are outlets near sinks GFCI outlets? |  |  |
| 362 | Is there at least 3 ft. of clearance around all electrical and HVAC boxes? |  |  |
| 363 | Are all electrical boxes (particularly in hallways) properly secured to prevent tampering? |  |  |
| 364 | Were all physical operations rooms neat and organized? |  |  |
| 365 | Are administrators aware of the location of janitorial rooms, AHUs, and other physical operations rooms? |  |  |
| 366 | Are they informed of proper shut-off procedures for the HVAC system? |  |  |
| 367 | Is the HVAC shut off accessible remotely? |  |  |
|  | Elevators |  |  |
| 368 | Are elevators inspected on a yearly basis or to code? |  |  |
| 369 | Do students have access to elevators? |  |  |